EU DECLARATION OF CONFORMITY

Manufacturer Information

Manufacturer Name: XYZ Medical Devices Pvt. Ltd.

Registered Address:
123 Medical Technology Park
Bangalore, Karnataka 560001
India

SRN (if applicable): Not Assigned

Declaration

We, the undersigned manufacturer, hereby declare under our sole responsibility that the medical device described below complies with the applicable requirements of Regulation (EU) 2017/745 on Medical Devices (EU MDR).

Device Identification

Device Trade Name: Pulse Oximeter

Device Type: Non-Invasive Oxygen Saturation and Pulse Rate Monitoring Device

Model Number: POX-100

Basic UDI-DI: BUDI-POX100-001

Intended Purpose:

The Pulse Oximeter is intended for the non-invasive measurement and display of functional oxygen saturation of arterial hemoglobin (SpO₂) and pulse rate in adult, pediatric, and neonatal patients. The device is intended for spot-check and continuous monitoring applications in healthcare facilities and other intended use environments specified in the Instructions for Use.

Device Classification

The device has been classified in accordance with Annex VIII of Regulation (EU) 2017/745.

Classification Rule: Rule 10

Device Class: Class IIa

Conformity Assessment Procedure

The conformity assessment procedure has been performed in accordance with:

Regulation (EU) 2017/745 (Medical Device Regulation)

Applicable Annexes:

- Annex II – Technical Documentation

- Annex III – Technical Documentation on Post-Market Surveillance

- Annex IX – Conformity Assessment Based on a Quality Management System and Assessment of Technical Documentation

Applied Standards

The following harmonized standards and recognized international standards have been applied during design, development, manufacturing, testing, and post-market activities:

Quality Management

- ISO 13485:2016 – Medical Devices – Quality Management Systems

Risk Management

- ISO 14971:2019 – Medical Devices – Application of Risk Management to Medical Devices

Electrical Safety

- IEC 60601-1:2005 + A1:2012 + A2:2020

Electromagnetic Compatibility

- IEC 60601-1-2:2014 + A1:2020

Usability Engineering

- IEC 62366-1:2015

Medical Device Software

- IEC 62304:2006 + A1:2015

Information Supplied by Manufacturer

- ISO 20417:2021

Medical Device Labeling Symbols

- ISO 15223-1:2021

Clinical Evaluation

- MDR Article 61

- MDR Annex XIV

Post-Market Surveillance

- MDR Articles 83–86

General Safety and Performance Requirements

The device complies with the applicable General Safety and Performance Requirements (GSPRs) specified in Annex I of Regulation (EU) 2017/745.

Compliance has been demonstrated through:

- Risk Management File

- Design Verification Reports

- Design Validation Reports

- Clinical Evaluation Report (CER)

- Post-Market Surveillance Plan

- Post-Market Clinical Follow-Up Plan

- Technical Documentation

- Labeling and Instructions for Use

Clinical Evaluation

A Clinical Evaluation has been performed in accordance with Article 61 and Annex XIV of Regulation (EU) 2017/745.

The clinical evaluation demonstrates that:

- The device achieves its intended purpose.

- The device performs as intended.

- The device is safe for its intended use.

- The benefit-risk profile is acceptable.

- Clinical evidence supports continued market placement.

Post-Market Activities

The manufacturer has established and maintains:

- Post-Market Surveillance (PMS) System

- PMS Plan

- PMCF Plan

- Vigilance Procedures

- Complaint Handling Procedures

- Corrective and Preventive Action (CAPA) Procedures

to ensure continued compliance throughout the device lifecycle.

Declaration

We hereby declare that the Pulse Oximeter described above complies with all applicable requirements of Regulation (EU) 2017/745 on Medical Devices and that all necessary conformity assessment procedures have been completed.

The manufacturer assumes full responsibility for the conformity of the device and for maintaining compliance throughout the product lifecycle.

Authorized Signatory

Name: Nishitha Daryn

Position: Regulatory Affairs Manager

Manufacturer: XYZ Medical Devices Pvt. Ltd.

Place of Issue: Bangalore, India

Date of Issue: 23 June 2026

Signature:

Nishitha Daryn 
Regulatory Affairs Manager